Quiz/Evaluation

How Comfortable are You doing a Pump Fitting and Assessment?

- Pump trauma which includes tissue loss, pain, and infection can occur with pumping when high pressure and long or very frequent pumping sessions are used.

- Power pumping is safe and does not contribute to pump injuries.

- Nipple ischemia is when blood flow to the nipple is restricted, and over time, can cause pain and tissue damage.

- Ineffective pumping can cause poor emptying of the breast but will not affect a person’s milk supply.

- Hospital grade pumps should be used by all mothers who have low milk supply

- The term CYCLE when referring to breast pumps, generally means how FAST the pump sucks per minute.

- Vacuum, when referring to breast pumps, is measured in millimeters of mercury (pressure) exerted on the nipple or areolar complex.

- The amount of suction pressure (mmHg) produced by a breast pump is not standardized or regulated for safety.

- An effective flange fitting and pump assessment includes visualization of the fit, appropriate nipple movement/stimulation during both cycles, adequate milk removal, and maternal comfort during and after pumping.

- A breast pump accessory available from a third-party seller, is likely to work as effectively as a part from the original manufacture.

- A pumping parent should be instructed to use the highest tolerable vacuum setting on their pump.